## Slide 1
Group K
Andrés Baidon, Julius Kiso,
Taher Muhammedali, Megan McGahren
Data Science for Energy System Modelling
Assignment 4

## Slide 2: Index
Input Data
Optimization
Sensitivity Analysis
Findings & Outlook
Appendix

## Slide 3: INPUT DATA

## Slide 4: Current Situation
Existing Power Plants
Energy Sources
Heavy dependency on fossil fuels
  mainly coal and gas.
  85.14 M€/year
INPUT DATA

## Slide 5: Provinces vs. Defined Regions
Sixteen South Korean Provinces
Defined regions
Regions with corresponding sea share
INPUT DATA
Notes: redo as figure exports

## Slide 6: Regional Electricity Demand
INPUT DATA

## Slide 7: Land Eligibility
Onshore wind eligible area: 3545 km2 or 2.75%
Offshore wind eligible area: 17412 km2 or 4.05%
Solar eligible area: 20,480 km2 or 16.37%
INPUT DATA

## Slide 8: OPTIMIZATION RESULTS

## Slide 9: Dispatch: Base Scenario vs. Renewables
Base Scenario
No Emissions with Nuclear
No Emissions without Nuclear
OPTIMIZATION RESULTS

## Slide 10: Transmission & Bus Capacities
Base Scenario
Renewables without Nuclear
Renewables with Nuclear
OPTIMIZATION RESULTS

## Slide 11: Current Electricity Cost vs. No Emissions Scenario
Base Scenario Prices
No Emission Scenario Prices
*Nuclear Included
OPTIMIZATION RESULTS

## Slide 12: Hourly price for Electricity
Plotted for Month of August
More direct feed-in of Renewables
Less direct feed-in of Renewables
OPTIMIZATION RESULTS

## Slide 13: SOC for Renewables Scenario
OPTIMIZATION RESULTS

## Slide 14: System Costs of Different Scenarios
→ More storage costs (volatility)
→ More network capacity costs (transmission)
→ Total system costs multiply
Transition from Fossils to Renewables:
OPTIMIZATION RESULTS
4 times p_max
6 times p_max

## Slide 15: SENSITIVITY ANALYSIS

## Slide 16: Sensitivity for Nuclear Technology
→ Nuclear as a big player with given technology costs
→ Storage opportunities not needed when high nuclear share
→ What are the costs for disposal and price for unminable uranium?
SENSITIVITY ANALYSIS
Nuclear CAPEX Factor

## Slide 17: CONCLUSIONS

## Slide 18: Findings
→ The current energy mix is dirty (coal, gas, (imported) oil, nuclear)
→ The population distribution (concentration around Seoul) is an additional difficulty
→ The availability of renewable energy carriers is very limited
→ High battery/H2 storages would be needed to supply the demand at any moment (no excess energy, no curtailment)
→ Nuclear is a competitive technology towards climate neutrality
→ System costs rising by multiple times
CONCLUSIONS

## Slide 19: Outlook
“The Republic of Korea, the world’s 8th largest energy consumer, is an energy-poor country that relies heavily on energy imports from overseas. The country imports almost 92.8% of its energy and natural resources consumption.” Energy | Ministry of Foreign Affairs, Republic of Korea (mofa.go.kr)
"The future of korean energy will likely have to rely heavily on offshore wind installations and nuclear power. South Korea’s newly elected president, Yoon Suk-Yeol recently unveiled plans to increase the country’s share of nuclear power to 30% by 2030.”
https://www.spglobal.com/commodityinsights/en/market-insights/latest-news/energy-transition/070522-south-korean-president-unveils-energy-plan-focused-on-cutting-fossil-fuel-reliance
“South Korea to move towards the goal of carbon neutrality by 2050”
Press Release (me.go.kr)
CONCLUSIONS

## Slide 20: 감사합니다
Thank you
Notes: or thank

## Slide 21: APPENDIX

## Slide 22: Capacity Factors for CE, SW, SE, NE
APPENDIX

## Slide 23: NW Capacity Factors for January 2020
NW is the most populous region
APPENDIX

## Slide 24: Sensitivity for Solar Availability
→ Four times more built capacities than average load (due to capacity-factor)
→ Solar substitutes onshore-wind if availability is high
→ Less solar availability leads to higher storage (H2+battery) costs
APPENDIX

## Slide 25: Sensitivity for Grid Capacities
→ line capacities can play a big role in renewable energy systems
→ non-linear course: costs are exponentially increasing below 5GW
→ the higher the capacity, the lower the costs → bottleneck effect
… but other external factors might constrain infinite capacity expansion
APPENDIX

## Slide 26: Sensitivity of CAPEX Wind/Solar
→ Little substitution of carriers (generation is almost at its limit)
→ System costs rise almost linearly with higher investment costs
→ Onshore wind as substitute technology when CAPEX rise
APPENDIX

## Slide 27: Transmission Lines
The following transmission lines were set up between buses:
APPENDIX

## Slide 28: Current Regional State of Charge
APPENDIX

## Slide 29: Price Duration Curves
No Emissions without Nuclear
Current Scenario
No Emissions with Nuclear
APPENDIX

## Slide 30: Additional Information
South Korea alone is about the size of Portugal or Hungary, or the U.S. state of Indiana. The largest island, Jeju-do, lies off the southwest corner of the peninsula and has a land area of 1,825 square kilometers.
APPENDIX
https://www.enerdata.net/publications/daily-energy-news/south-korea-will-raise-share-nuclear-power-generation-33-2030.html
According to the plan, renewable energy will make up 21.5% of the country’s total electricity generation by 2030 (9% in 2021), with the figure for coal standing at 21.2% (35% in 2021) and natural gas at 20.9% (28% in 2021). South Korea has pledged to reduce its greenhouse gas emissions by 40% by 2030 (from 2018 levels) and reach carbon neutrality by 2050.
https://www.infolink-group.com/energy-article/Offshore-wind-market-analysis-South-Korea-raises-capacity-target-to-18-20-GW-For-2030
The following is some additional information about South Korea that may be relevant for the presentation:
Notes: overall population
how is south korea planning to do energy transition